## Uncertainty Budget
line | cal | stat | sys | total | measured wavelength |  | Na-like | Relative Difference |  | all 1 sigma | [13 empty] | 2nd order | [6 empty] | 2nd order | [31 empty] | Mg-like | 2nd order | [5 empty] | 2nd order
os na | 1.7348e-08 | 1.3762e-08 | 0 | 0.00017638 | 7.4479 | 7.4479 |  | os stat unc | ir stat unc | calib unc |  |  |  | wave shift | 0.15355 | 0.00031855 |  |  | 9.4739e-11 |  |  | 14.898 |  | Na-like | Relative Difference |  | all 1 sigma | [7 empty] | adjusted* |  |  |  |  | Na-like Rel | [23 empty] | Mg-like | Relative Difference |  | all 1 sigma | [6 empty] | adjusted* |  |  |  | Mg-like Rel
ir na | 1.7673e-08 | 1.0778e-08 | 0 | 0.00016867 | 7.2944 | 7.2944 |  | 0.00012568 | 0.00017192 | 0.0002369 |  | 0.00031855 | nm | [5 empty] | 8.5679e-11 |  |  | 14.5896 |  |  | os stat unc | ir stat unc | calib unc |  |  |  | wave shift | 0.15364 | 0.0005721 | nm | wave shift | 0.15364 | 0.0005721 | nm | [26 empty] | os stat unc | ir stat unc | calib unc |  |  | wave shift | 0.16198 | 0.00095952 | nm | wave shift | 0.16198 | 0.00095952 | nm
os mg | 1.7045e-08 | 5.5632e-09 | 0 | 0.00015036 | 7.6553 | [8 empty] | eV | 3.5079 | 0.0072771 |  |  | 9.754e-11 | [5 empty] | 0.00024037 | 0.00032014 | 0.0004087 |  | 0.0005721 |  |  |  |  | eV | [17 empty] | Os HFS | 0.035 | eV | [10 empty] | 0.00017243 | 0.00075631 | 0.00056475 |  | 0.00095952 |  |  |  | eV | [16 empty] | Os HFS | 0.035 | eV
ir mg | 1.7256e-08 | 9.5476e-09 | 0 | 0.00016372 | 7.4935 | [8 empty] | cm-1 | 28292.7459 | 58.6941 |  |  | 8.5679e-11 | [11 empty] | eV | 3.5059 | 0.013055 | cm-1 | eV* | 3.5059 | 0.013055 | eV | [13 empty] | Ir HFS | 0.009 | eV | [15 empty] | eV | 3.4992 | 0.020729 | cm-1 | eV* | 3.4992 | 0.020729 | eV | [12 empty] | Ir HFS | 0.009 | eV
os na 2 | 3.351e-08 | 6.0372e-07 | 0 | 0.00079827 | 7.4485 |  |  | Relative uncertainty contribution (%) | [10 empty] | 1.0675e-10 |  |  | 14.8924 | [8 empty] | cm-1 | 28276.7441 | 105.2928 |  | cm-1* | 28276.7441 | 105.2928 | cm-1 | [20 empty] | Na-like | [10 empty] | cm-1 | 28223.1415 | 167.19 |  | cm-1* | 28223.1415 | 167.19 | cm-1 | [19 empty] | Mg-like
ir na 2 | 3.2044e-08 | 5.1665e-08 | 0 | 0.00028933 | 7.2951 |  |  | os stat unc | ir stat unc | calib unc | [8 empty] | 9.5727e-11 |  |  | 14.584 |  |  | Relative uncertainty contribution (%) | [33 empty] | dR_A | [5 empty] | Relative uncertainty contribution (%) | [31 empty] | dR_A
os mg 2 | 3.5772e-08 | 5.5381e-08 | 0 | 0.00030192 | 7.6565 |  |  | 15.5663 | 29.1276 | 55.3061 |  | 100 |  | john/steve | [10 empty] | os stat unc | ir stat unc | calib unc | [30 empty] | Dipti | 0.033042 | fm |  |  |  |  | os stat unc | ir stat unc | calib unc
ir mg 2 | 3.3821e-08 | 2.1216e-07 | 0 | 0.00049597 | 7.4646 | [8 empty] | 7.449 | 0.0013 | 166.44 | 0.03 |  | c | 299792458 |  |  |  |  | 17.6526 | 31.3131 | 51.0343 |  | 100 | [28 empty] | Steve | 0.030613 | fm |  |  |  |  | 3.2292 | 62.1292 | 34.6416 |  | 100 | [26 empty] | Steve | 0.035885 | fm
[14 empty] | 7.2948 | 0.0013 | 169.96 | 0.03 |  | h | 6.6261e-34 | [25 empty] | os stat unc | ir stat unc | calib unc | [5 empty] | Ir HFS |  | Os HFS | [27 empty] | os stat unc | ir stat unc | calib unc | [5 empty] | Ir HFS |  | Os HFS
[7 empty] | Na-like | Absolute Difference | [5 empty] | 0.1542 | 0.0018385 | 3.52 | 0.042426 |  | JeV | 6.2415e+18 |  |  |  | 2nd order | [15 empty] | Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A |  |  |  |  | 2nd order | [13 empty] | Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A
[8 empty] | os stat unc | ir stat unc | os cal unc | ir cal unc | [7 empty] | econv | 8065.5439 |  |  |  | Na-like | Absolute Difference | [9 empty] | adjusted* |  |  |  |  | Dipti | 1.8478e-06 |  | 4.6749e-06 |  |  | 2.5235e-05 | 7.9404e-05 | 0.00021092 |  | 0.00031556 |  | 2.0616e-06 |  | 4.7722e-08 |  | 2.7294e-06 |  |  | 0.018081 | fm |  |  |  | Mg-like | Absolute Difference | [8 empty] | adjusted*
|  | all values are squared already | [5 empty] | 1.3762e-08 | 1.0778e-08 | 1.7348e-08 | 1.7673e-08 | 0.00024405 | nm | [9 empty] | 7.4485 |  | os stat unc | ir stat unc | os cal unc | ir cal unc |  |  | wave shift | 0.15349 | 0.00084908 | nm | wave shift | 0.15349 | 0.00084908 | nm |  | Steve | 1.8337e-06 |  | 2.5973e-06 |  |  | 2.4925e-05 | 7.8426e-05 | 0.00020832 |  | 0.00031167 |  | 2.0616e-06 |  | 4.7134e-08 |  | 2.3428e-06 |  |  | 0.017904 | fm |  |  | 7.6565 |  | os stat unc | ir stat unc | os cal unc | ir cal unc |  | wave shift | 0.19191 | 0.00058064 | nm | wave shift | 0.19191 | 0.00058064 | nm | Steve | 1.8566e-06 |  | 1.9007e-05 |  |  | 2.1292e-06 | 0.00078815 | 0.00024503 |  | 0.0010353 |  | 3.2193e-06 |  | 7.6305e-08 |  | 6.7758e-07 |  |  | 0.03256 | fm
[14 empty] | sapirstein | [8 empty] | 7.2951 |  | 6.0372e-07 | 5.1665e-08 | 3.351e-08 | 3.2044e-08 | 0.00084908 |  | eV | 3.5022 | 0.019374 | eV | eV* | 3.5022 | 0.019374 | eV | [24 empty] | 7.4646 |  | 5.5381e-08 | 2.1216e-07 | 3.5772e-08 | 3.3821e-08 | 0.00058064 | eV | 4.1633 | 0.012596 | eV | eV* | 4.1633 | 0.012596 | eV
Relative uncertainty contribution (%) | [7 empty] | Relative uncertainty contribution (%) | [5 empty] | 7.4507 | 0.0013 | 166.407 | 0.03 | [13 empty] | cm-1 | 28247.1525 | 156.2604 | cm-1 | cm-1* | 28247.1525 | 156.2604 | cm-1 | [7 empty] | total exp unc = | 105.2928 | cm-1 | [21 empty] | cm-1 | 33578.9966 | 101.5933 | cm-1 | cm-1* | 33578.9966 | 101.5933 | cm-1 | [6 empty] | total exp unc = | 167.19 | cm-1
line | cal | stat | sys | total |  |  |  | os stat unc | ir stat unc | os cal unc | ir cal unc |  |  | 7.2966 | 0.0013 | 169.92 | 0.03 |  |  | Theory Mg |  |  |  |  | Relative uncertainty contribution (%) | [24 empty] | 0.017764 | [14 empty] | Relative uncertainty contribution (%) | [22 empty] | 0
os na | 55.7645 | 44.2355 | 0 | 100 |  |  |  | 23.1052 | 18.0951 | 29.127 | 29.6726 | 100 |  | 0.15404 | 0.0018385 | 3.513 | 0.01 |  | wavelength (nm) | unc (nm) | energy (eV) | unc (eV) |  |  | os stat unc | ir stat unc | os cal unc | ir cal unc | [36 empty] | os stat unc | ir stat unc | os cal unc | ir cal unc
ir na | 62.1185 | 37.8815 | 0 | 100 | [14 empty] | 7.657 | 0.002 | 161.922 | 0.042 |  |  | 83.7407 | 7.1664 | 4.6481 | 4.4448 | 100 | [12 empty] | Dipti | [6 empty] | Steve |  |  |  |  | 0.035 | #REF! | [9 empty] | 16.4268 | 62.9307 | 10.6106 | 10.0319 | 100 | [10 empty] | Dipti | [6 empty] | Steve |  |  |  |  | 0.035 | #REF!
os mg | 75.3931 | 24.6069 | 0 | 100 |  |  |  | wave shift | 0.15354 | 0.00024405 | nm |  |  | dipti |  |  |  |  | 7.4945 | 0.002 | 165.433 | 0.044 | [12 empty] | Na-like | 2nd order | Relative |  |  |  |  | Relative uncertainty contribution (%) | [5 empty] | Relative uncertainty contribution (%) | [5 empty] | #REF! | [25 empty] | Relative uncertainty contribution (%) | [5 empty] | Relative uncertainty contribution (%) | [5 empty] | #REF!
ir mg | 64.379 | 35.621 | 0 | 100 |  |  |  | eV | 3.5041 | 0.0055696 | eV |  |  | 7.4462 | 0.0008 | 166.5067 | 0.019 |  | 0.1625 | 0.0028284 | 3.511 | 0.060828 | [13 empty] | Dipti | Steve |  |  |  | Component | Variance | Variance % |  | Experimental |  |  | Component | Variance | Variance % |  | Experimental | [26 empty] | Component | Variance | Variance % |  | Experimental |  |  | Component | Variance | Variance % |  | Experimental
os na 2 | 5.2587 | 94.7413 | 0 | 100 |  |  |  | cm-1 | 28262.1294 | 44.9215 | cm-1 |  |  | 7.292 | 0.0025 | 170.0277 | 0.058 | [17 empty] | SA | -3700 | -3723 |  |  |  | 1 | 1.8478e-06 | 0.5652 |  |  |  |  | 1 | 1.8337e-06 | 0.57204 |  |  |  | #REF! | [9 empty] | 0.19191 | [14 empty] | 1 | 0 | 0 |  |  |  |  | 1 | 1.8566e-06 | 0.17513 |  |  |  | #REF!
ir na 2 | 38.2802 | 61.7198 | 0 | 100 | [9 empty] | 0.1542 | 0.0026249 | 3.521 | 0.061033 | [17 empty] | SB | -3353 | -3361 |  |  |  | 2 | 4.6749e-06 | 1.43 | Component | Variance | Cont % |  | 2 | 2.5973e-06 | 0.81024 | Component | Variance | Cont % | [25 empty] | 2 | 0 | 0 | Component | Variance | Cont % |  | 2 | 1.9007e-05 | 1.7929 | Component | Variance | Cont %
[7 empty] | Mg-like | Relative Difference | [10 empty] | Na-like exp | [15 empty] | dRB | 0.0015 | 0.0015 |  |  |  | 3a (Os unc) | 2.5235e-05 | 7.7191 | 3 total | 0.00031556 | 96.5247 |  | 3a (Os unc) | 2.4925e-05 | 7.7754 | 3 total | 0.00031167 | 97.229 | [25 empty] | 3a (Os unc) | 0 | 0 | 3 total | 0 | #DIV/0! |  | 3a (Os unc) | 2.1292e-06 | 0.20084 | 3 total | 0.0010353 | 97.6572
| Na-like | [6 empty] | os stat unc | ir stat unc | calib unc |  |  |  | wave shift | 0.16172 | 0.000334 | nm |  | Wavelength | unc |  | eV | eV diff | eV unc | [10 empty] | d(EB-EA) | 10 | 10 |  |  |  | 3b (Ir unc) | 7.9404e-05 | 24.2885 |  |  |  |  | 3b (Ir unc) | 7.8426e-05 | 24.4657 | [28 empty] | 3b (Ir unc) | 0 | 0 |  |  |  |  | 3b (Ir unc) | 0.00078815 | 74.3438
|  | Dipti | Steve |  |  |  |  | 0.00014101 | 0.00018501 | 0.00023967 |  | 0.000334 |  | eV | 3.4945 | 0.0072171 | eV |  | 7.4479 | 0.0002 |  | 166.4681 | 3.5015 | 0.0055695 |  | diff unc (W) | [8 empty] | dEm | 0.013055 | 0.013055 |  |  |  | 3 calib | 0.00021092 | 64.5171 |  |  |  |  | 3c (cal) | 0.00020832 | 64.9879 |  |  |  |  | 4 | [23 empty] | 3 calib | 0 | 0 |  |  |  |  | 3c (cal) | 0.00024503 | 23.1126 |  |  |  |  | 4
| SA | -3700 | -3723 | [10 empty] | cm-1 | 28185.3513 | 58.2097 |  |  | 7.2945 | 0.0002 |  | 169.9696 |  |  |  | 0.00028284 | [8 empty] | Em | 3.5059 | 3.5059 |  |  |  | 4 | 2.0616e-06 | 0.63062 |  |  |  |  | 4 | 2.0616e-06 | 0.64314 | [6 empty] | 0.0044651 | [21 empty] | 4 | 0 | 0 |  |  |  |  | 4 | 3.2193e-06 | 0.30366 | [6 empty] | 0.0044651
| SB | -3353 | -3361 | [15 empty] | 0.15343 | 0.00024405 | [14 empty] | dRA | 0.033042 | 0.030613 |  |  |  | 5 | 4.7722e-08 | 0.014597 |  |  |  |  | 5 | 4.7134e-08 | 0.014704 | [28 empty] | 5 | 0 | 0 |  |  |  |  | 5 | 7.6305e-08 | 0.0071976
| dRB | 0.0015 | 0.0015 |  |  |  |  | Relative uncertainty contribution (%) | [10 empty] | expshift | [10 empty] | Mg-like | [10 empty] | 6 | 2.7294e-06 | 0.83487 |  |  |  |  | 6 | 2.3428e-06 | 0.73086 | [28 empty] | 6 | 0 | 0 |  |  |  |  | 6 | 6.7758e-07 | 0.063914
| d(EB-EA) | 10 | 10 |  |  |  |  | os stat unc | ir stat unc | calib unc | [8 empty] | 3.5026 | 0.004529 | eV | [9 empty] | Steve |  |  |  | econv | 8065.5439 |  |  |  |  | Total | 0.00032414 | 100 |  |  |  |  | Total | 0.00032056 | 100 | [6 empty] | 3.5026 | [21 empty] | Total | 0 | 0 |  |  |  |  | Total | 0.0010601 | 100 | [6 empty] | 3.5026
| dEm | 0.0072771 | 0.0072771 |  |  |  |  | 17.8237 | 30.6845 | 51.4918 |  | 100 | [6 empty] | 0.1534 | 0.0002 | nm | [8 empty] | SA | -3700 |  |  |  | E_A | 166.5067 | 166.44
| Em | 3.5079 | 3.5079 |  | 0.00099187 | [24 empty] | SB | -3361 |  |  |  | E_B | 170.0277 | 169.96
| dRA | 0.028717 | 0.026314 | [15 empty] | Mg-like Exp | [10 empty] | dRB | 0.0015 |  |  |  |  | 3.521 | 3.52
[7 empty] | Mg-like | Absolute Difference | [10 empty] | Wavelength | unc | diff unc (W) | eV | eV diff | [6 empty] | d(EB-EA) | 0.002 |  |  |  | deltaEA | 158 | 143 |  |  |  | Na-like | 2nd order | Abs
| econv | 8065.5439 |  |  |  | 7.6553 |  | os stat unc | ir stat unc | os cal unc | ir cal unc |  |  | wave shift | 0.16179 | 0.00022229 |  |  | 7.6553 | [10 empty] | dEm | 0.0072171 |  |  |  | deltaEB | 150 | 137 |  | 0.033042 |  |  | Dipti | Steve
[6 empty] | 7.4935 |  | 5.5632e-09 | 9.5476e-09 | 1.7045e-08 | 1.7256e-08 | 0.00022229 |  | eV | 3.4967 | 0.0048044 |  |  | 7.4932 | [10 empty] | Em | 3.4945 |  |  |  |  | 8 | 6 |  |  |  | SA | -3700 | -3723 | [34 empty] | Mg-like ABS
| deltaEA | 158 | 143 | [10 empty] | cm-1 | 28203.1277 | 38.7497 |  |  | 0.16208 | [10 empty] | E_Theo | 3.511 | [9 empty] | SB | -3353 | -3361 |  |  | Na-like Abs
| deltaEB | 150 | 137 |  |  |  |  | Relative uncertainty contribution (%) | [21 empty] | dRA | 0.035885 | [9 empty] | dRB | 0.0015 | 0.0015 | [46 empty] | Os HFS | 0.035 | eV
|  | 8 | 6 |  |  |  |  | os stat unc | ir stat unc | os cal unc | ir cal unc | [18 empty] | E_A | 165.433 | [9 empty] | d(EB-EA) | 10 | 10 | [14 empty] | Os HFS | 0.035 | eV | [29 empty] | Ir HFS | 0.009 | eV
[8 empty] | 11.259 | 19.3225 | 34.4963 | 34.9222 | 100 | [17 empty] | E_B | 161.922 | [9 empty] | dEm | 0.019374 | 0.019374 | [14 empty] | Ir HFS | 0.009 | eV | [36 empty] | Mg-like
|  |  |  | 0.00099187 | [11 empty] | 3.4967 | [13 empty] | deltaEA | 143 | [9 empty] | Em | 3.5022 | 3.5022 | [21 empty] | Na-like | [31 empty] | dR_A
| sigma level = | 1 | [27 empty] | deltaEB | 137 | [9 empty] | dRA | 0.041039 | 0.038561 | [21 empty] | dR_A
|  | 1 |  |  | 2 |  | 3 |  | 4 | [21 empty] | 6 | [32 empty] | Dipti | 0.041039 | fm | [29 empty] | Steve | -1.4219 | fm
| Dipti | 7.3911e-06 | 0 | 0 | 1.87e-05 | 0 | 0.00038988 | 0 | 1.6206e-05 | 0 | 0.020789 | [29 empty] | econv | 8065.5439 | 8065.5439 | [20 empty] | Steve | 0.038561 | fm | [17 empty] | os stat unc | ir stat unc | os calib unc | ir calib unc |  |  |  |  | Ir HFS |  | Os HFS
| Steve | 7.3349e-06 |  |  | 1.0389e-05 |  | 0.00038508 |  | 1.4276e-05 |  | 0.020422 | [29 empty] | E_A | 166.5067 | 166.44 | [8 empty] | os stat unc | ir stat unc | os calib unc | ir calib unc |  |  |  |  | Ir HFS |  | Os HFS | [15 empty] | Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c | 3D | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A
[41 empty] | E_B | 170.0277 | 169.96 |  |  | Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A
Na-like Rel | [18 empty] | 0.03233 | 0.012152 | [21 empty] | 3.521 | 3.52 |  |  | Dipti | 1.8478e-06 |  | 4.6749e-06 |  |  | 0.0012507 | 9.16e-06 | 3.8534e-06 | 3.5236e-06 | 0.0012673 |  | 4.2106e-06 |  | 4.7722e-08 |  | 2.7294e-06 |  |  | 0.035788 | fm | [11 empty] | Steve | 1.8566e-06 |  | 1.9007e-05 |  |  | 5.5096e-05 | 0.00080862 | 2.2988e-05 | 2.0549e-05 | 0.00090725 |  | 3.2193e-06 |  | 7.6305e-08 |  | 6.7758e-07 |  |  | 0.03053 | fm
[19 empty] | 0.029905 | 0.011963 | [20 empty] | deltaEA | 158 | 143 |  |  | Steve | 1.8337e-06 |  | 2.5973e-06 |  |  | 0.0012353 | 9.0471e-06 | 3.806e-06 | 3.4802e-06 | 0.0012517 |  | 3.7174e-06 |  | 4.7134e-08 |  | 2.3428e-06 |  |  | 0.035494 | fm
[12 empty] | Os HFS | 0.035 | eV | [22 empty] | 0.033913 | eV |  |  | deltaEB | 150 | 137 | [40 empty] | total exp unc = | 101.5933 | cm-1
[12 empty] | Ir HFS | 0.009 | eV | [22 empty] | 0.011381 | eV |  |  |  | 8 | 6 | [8 empty] | total exp unc = | 156.2604 | cm-1 | [33 empty] | 0
[19 empty] | Na-like | [16 empty] | Os HFS | [6 empty] | Mg-like | [12 empty] | 0.035599
[19 empty] | dR_A | [16 empty] | Ir HFS | [6 empty] | dR_A | [36 empty] | Dipti | [6 empty] | Steve |  |  |  |  | 0.035 | #REF!
[18 empty] | Dipti | 0.028717 | fm | [23 empty] | fm |  |  |  | Dipti | [6 empty] | Steve |  |  |  |  | 0.035 | #REF! | [18 empty] | Relative uncertainty contribution (%) | [5 empty] | Relative uncertainty contribution (%) | [5 empty] | #REF!
[18 empty] | Steve | 0.026314 | fm | [21 empty] | Steve | 0.035885 | fm |  |  |  | Relative uncertainty contribution (%) | [5 empty] | Relative uncertainty contribution (%) | [5 empty] | #REF! | [18 empty] | Component | Variance | Variance % |  | Experimental |  |  | Component | Variance | Variance % |  | Experimental
[6 empty] | os stat unc | ir stat unc | calib unc | [5 empty] | Ir HFS |  | Os HFS | [13 empty] | os stat unc | ir stat unc | calib unc | [5 empty] | Ir HFS |  | Os HFS | [6 empty] | Component | Variance | Variance % |  | Experimental |  |  | Component | Variance | Variance % |  | Experimental | [20 empty] | 1 | 0 | 0 |  |  |  |  | 1 | 1.8566e-06 | 0.20368 |  |  |  | #REF!
Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A |  |  |  |  | Mg-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  |  |  | 5 |  | 6 |  |  | ddR_A |  |  |  | 1 | 1.8478e-06 | 0.14427 |  |  |  |  | 1 | 1.8337e-06 | 0.14527 |  |  |  | #REF! | [18 empty] | 2 | 0 | 0 | Component | Variance | Cont % |  | 2 | 1.9007e-05 | 2.0852 | Component | Variance | Cont %
Dipti | 1.8478e-06 |  | 4.6749e-06 |  |  | 6.0975e-06 | 2.135e-05 | 7.6972e-05 |  | 0.00010442 |  | 2.0616e-06 |  | 4.7722e-08 |  | 7.2172e-07 |  |  | 0.010666 | fm |  |  |  | Steve | 1.8566e-06 |  | 1.9007e-05 |  |  | 7.8629e-06 | 2.3304e-05 | 6.5624e-05 |  | 9.6791e-05 |  |  |  | 7.6305e-08 |  | 6.7758e-07 |  |  | 0.011029 | fm |  |  | 2 | 4.6749e-06 | 0.365 | Component | Variance | Cont % |  | 2 | 2.5973e-06 | 0.20576 | Component | Variance | Cont % | [19 empty] | 3a (Os unc) | 0 | 0 | 3 total | 0 | #DIV/0! |  | 3a (Os unc) | 5.5096e-05 | 6.0443 | 3 total | 0.00090725 | 99.5295
Steve | 1.8337e-06 |  | 2.5973e-06 |  |  | 6.0224e-06 | 2.1087e-05 | 7.6024e-05 |  | 0.00010313 |  | 2.0616e-06 |  | 4.7134e-08 |  | 7.1283e-07 |  |  | 0.01047 | fm | [15 empty] | 4 | [10 empty] | 3a (Os unc) | 0.0012507 | 97.654 | 3 total | 0.0012673 | 98.9452 |  | 3a (Os unc) | 0.0012353 | 97.8677 | 3 total | 0.0012517 | 99.1617 | [19 empty] | 3b (Ir unc) | 0 | 0 |  |  |  |  | 3b (Ir unc) | 0.00080862 | 88.709
[36 empty] | 3.2193e-06 | [10 empty] | 3b (Ir unc) | 9.16e-06 | 0.71518 |  |  |  |  | 3b (Ir unc) | 9.0471e-06 | 0.71675 | [22 empty] | 3 calib | 0 | 0 |  |  |  |  | 3c (cal) | 2.2988e-05 | 2.5219 |  |  |  |  | 4
[6 empty] | total exp unc = | 58.6941 | cm-1 | [21 empty] | total exp unc = | 58.2097 | cm-1 | [10 empty] | 0.030892 | 0.010701 |  |  | 3c (os cal unc) | 3.8534e-06 | 0.30086 |  |  |  |  | 3c (os cal unc) | 3.806e-06 | 0.30152 | [22 empty] | 4 | 0 | 0 |  |  |  |  | 4 | 3.2193e-06 | 0.35317 | [6 empty] | 0.0044651
[10 empty] | 0.010219 | [23 empty] | 0.0098382 | [12 empty] | 3d (ir cal unc) | 3.5236e-06 | 0.27512 |  |  |  |  | 3d (ir cal unc) | 3.5236e-06 | 0.27916 | [6 empty] | 0.0044651 | [15 empty] | 5 | 0 | 0 |  |  |  |  | 5 | 7.6305e-08 | 0.008371
[47 empty] | 4 | 4.2106e-06 | 0.32875 |  |  |  |  | 4 | 3.7174e-06 | 0.2945 | [22 empty] | 6 | 0 | 0 |  |  |  |  | 6 | 6.7758e-07 | 0.074334
|  | Dipti | [6 empty] | Steve |  |  |  |  | 0.035 | 282.294 | [14 empty] | Steve | [16 empty] | 5 | 4.7722e-08 | 0.003726 |  |  |  |  | 5 | 4.7134e-08 | 0.0037341 | [22 empty] | Total | 0 | 0 |  |  |  |  | Total | 0.00091154 | 100 | [6 empty] | 3.5026
| Relative uncertainty contribution (%) | [6 empty] | Relative uncertainty contribution (%) | [5 empty] | 7.2172e-07 | [14 empty] | Relative uncertainty contribution (%) | [17 empty] | 6 | 2.7294e-06 | 0.2131 |  |  |  |  | 6 | 2.3428e-06 | 0.18561 | [6 empty] | 3.5026
| Component | Variance | Variance % |  | Experimental |  |  | Component | Variance | Variance % |  | Experimental | [16 empty] | Component | Variance | Variance % |  | Experimental | [13 empty] | Total | 0.0012808 | 100 |  |  |  |  | Total | 0.0012623 | 100
| 1 | 1.8478e-06 | 1.6241 |  |  |  |  | 1 | 1.8337e-06 | 1.6612 |  |  |  | 0.63435 | [14 empty] | 1 | 1.8566e-06 | 1.5264
| 2 | 4.6749e-06 | 4.109 | Component | Variance | Cont % |  | 2 | 2.5973e-06 | 2.3529 | Component | Variance | Cont % | [15 empty] | 2 | 1.9007e-05 | 15.6275 | Component | Variance | Cont %
| 3a (Os unc) | 6.0975e-06 | 5.3594 | 3 total | 0.00010442 | 91.7786 |  | 3a (Os unc) | 6.0224e-06 | 5.4558 | 3 total | 0.00010313 | 93.4298 | [15 empty] | 3a (Os unc) | 7.8629e-06 | 6.4648 | 3 total | 9.6791e-05 | 79.5794
| 3b (Ir unc) | 2.135e-05 | 18.7653 |  |  |  |  | 3b (Ir unc) | 2.1087e-05 | 19.1029 | [18 empty] | 3b (Ir unc) | 2.3304e-05 | 19.1599
| 3 calib | 7.6972e-05 | 67.6539 |  |  |  |  | 3c (cal) | 7.6024e-05 | 68.8711 | [18 empty] | 3 calib | 6.5624e-05 | 53.9548
| 4 | 2.0616e-06 | 1.8121 |  |  |  |  | 4 | 2.0616e-06 | 1.8677 | [6 empty] | 0.0044651 | [11 empty] | 4 | 3.2193e-06 | 2.6468
| 5 | 4.7722e-08 | 0.041945 |  |  |  |  | 5 | 4.7134e-08 | 0.042699 | [18 empty] | 5 | 7.6305e-08 | 0.062736
| 6 | 7.2172e-07 | 0.63435 |  |  |  |  | 6 | 7.1283e-07 | 0.64576 | [18 empty] | 6 | 6.7758e-07 | 0.55709
| Total | 0.000113 | 100 |  |  |  |  | Total | 0.00011039 | 100 | [6 empty] | 3.5026 | [11 empty] | Total | 0.00012163 | 100
Na-like Abs | [18 empty] | 0.044183 | 0.012605 |  |  |  | Mg-like Abs
[19 empty] | 0.041685 | 0.012418
[12 empty] | Os HFS | 0.035 | eV | [22 empty] | 0.033913 | eV
[12 empty] | Ir HFS | 0.009 | eV | [22 empty] | 0.011381 | eV
[19 empty] | Na-like | [16 empty] | Os HFS | [6 empty] | Mg-like
[19 empty] | dR_A | [16 empty] | Ir HFS | [6 empty] | dR_A
[18 empty] | Dipti | 0.036992 | fm | [23 empty] | fm
[18 empty] | Steve | 0.034538 | fm | [21 empty] | Steve | 0.03108 | fm
[6 empty] | os stat unc | ir stat unc | os calib unc | ir calib unc |  |  |  |  | Ir HFS |  | Os HFS | [13 empty] | os stat unc | ir stat unc | os calib unc | ir calib unc |  |  |  |  | Ir HFS |  | Os HFS
Na-like | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  | 4 |  | 5 |  | 6 |  |  | ddR_A | [5 empty] | 1 |  | 2 |  |  | 3a | 3b | 3c |  | 3sum |  |  |  | 5 |  | 6 |  |  | ddR_A
Dipti | 1.8478e-06 |  | 4.6749e-06 |  |  | 7.8691e-06 | 4.8265e-06 | 1.2505e-05 | 1.2978e-05 | 3.8179e-05 |  | 2.0616e-06 |  | 4.7722e-08 |  | 7.2172e-07 |  |  | 0.0068944 | fm |  |  |  | Steve | 1.8566e-06 |  | 1.9007e-05 |  |  | 1.8685e-06 | 5.5034e-06 | 1.7541e-05 | 1.7977e-05 | 4.2889e-05 |  |  |  | 7.6305e-08 |  | 6.7758e-07 |  |  | 0.0082296 | fm
Steve | 1.8337e-06 |  | 2.5973e-06 |  |  | 7.7722e-06 | 4.767e-06 | 1.2351e-05 | 1.2818e-05 | 3.7709e-05 |  | 2.0616e-06 |  | 4.7134e-08 |  | 7.1283e-07 |  |  | 0.0066484 | fm |  |  |  |  | 0 |  | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  | 4 |  | 0 |  | 0 |  |  | 0 | fm
3.2193e-06
[6 empty] | total exp unc = | 44.9215 | cm-1 | [21 empty] | total exp unc = | 38.7497 | cm-1 |  |  |  | 0
[10 empty] | 0.0061789 | [23 empty] | 0.006549
[43 empty] | 0.029289 | 0.013723
|  |  |  | Dipti | [7 empty] | 0.0044651 |  | 0.035 | #REF! | [12 empty] | Steve
|  |  | Relative uncertainty contribution (%) | [10 empty] | #REF! | [12 empty] | Relative uncertainty contribution (%)
|  |  | Component | Variance | Variance % |  | Experimental | [19 empty] | Component | Variance | Variance % |  | Experimental
|  |  | 1 | 1.8478e-06 | 3.8873 | [6 empty] | 3.5026 |  | #REF! | [12 empty] | 1 | 1.8566e-06 | 2.7413
|  |  | 2 | 4.6749e-06 | 9.8352 | Component | Variance | Cont % | [18 empty] | 2 | 1.9007e-05 | 28.065 | Component | Variance | Cont %
|  |  | 3a (Os unc) | 7.8691e-06 | 16.555 | 3 total | 3.8179e-05 | 80.3215 | [18 empty] | 3a (Os unc) | 1.8685e-06 | 2.7589 | 3 total | 4.2889e-05 | 63.3273
|  |  | 3b (Ir unc) | 4.8265e-06 | 10.1539 | [21 empty] | 3b (Ir unc) | 5.5034e-06 | 8.1259
|  |  | 3c (Os unc cal) | 1.2505e-05 | 26.3089 | [21 empty] | 3c (Os unc cal) | 1.7541e-05 | 25.8995
|  |  | 3d (Ir unc cal) | 1.2978e-05 | 27.3037 | [21 empty] | 3d (Ir unc cal) | 1.7977e-05 | 26.5429
|  |  | 4 | 2.0616e-06 | 4.3373 | [21 empty] | 4 | 3.2193e-06 | 4.7533
|  |  | 5 | 4.7722e-08 | 0.1004 | [21 empty] | 5 | 7.6305e-08 | 0.11267
|  |  | 6 | 7.2172e-07 | 1.5183 | [21 empty] | 6 | 6.7758e-07 | 1.0005
|  |  | Total | 4.6764e-05 | 100 | [21 empty] | Total | 6.6973e-05 | 100
Steve
Relative uncertainty contribution (%)
|  |  | Component | Variance | Variance % |  | Experimental
|  |  | 1 | 1.8337e-06 | 4.0784
|  |  | 2 | 2.5973e-06 | 5.7766 | Component | Variance | Cont %
|  |  | 3a (Os unc) | 7.7722e-06 | 17.2863 | 3 total | 3.7709e-05 | 85.3113
|  |  | 3b (Ir unc) | 4.767e-06 | 10.6024
|  |  | 3c (Os unc cal) | 1.2351e-05 | 27.471
|  |  | 3d (Ir unc cal) | 1.2818e-05 | 28.5098
|  |  | 4 | 2.0616e-06 | 4.5853
|  |  | 5 | 4.7134e-08 | 0.10483
|  |  | 6 | 7.1283e-07 | 1.5854
|  |  | Total | 4.4962e-05 | 100
|  |  | gaussian fit | 1st order | Na-like | 2022-05-08 |  | shift | unc | os unc | ir unc
[7 empty] | max | 0.15403 | 0.00020907 | 0.00012963 | 0.00016403 | nm | 0.15403 | 0.00020907 | 0.00012963 | 0.00016403
[5 empty] | 0.031899 |  | nominal | 0.15355 | 0.00021296 | 0.00012568 | 0.00017192 | nm | 0.15355 | 0.00021296 | 0.00012568 | 0.00017192
[7 empty] | min | 0.15318 | 0.00020044 | 0.00012568 | 0.00015614 | nm | 0.15318 | 0.00020044 | 0.00012568 | 0.00015614
[7 empty] | calibration unc | 0.0002369 | nm
|  | 3.504 | 0.003 |  |  | over-estimation
[8 empty] | shift | unc | os unc | ir unc
|  | 0.037058 | 0.005 |  |  |  | max | 0.15555 | 0.0002055 | 0.00014084 | 0.00014965 | nm
[7 empty] | nominal | 0.1535 | 0.00018782 | 0.00013073 | 0.00013485 | nm
[7 empty] | min | 0.15143 | 0.0002026 | 0.00014958 | 0.00013665 | nm
[7 empty] | calibration unc | 0.0010268 | nm
|  |  |  | gaussian fit | 1st order | Mg-like | 2022-05-08
[8 empty] | shift | unc | os unc | ir unc
[7 empty] | max | 0.1622 | 0.00022481 | 0.00015403 | 0.00018501 | nm | 0.1622 | 0.00022481
[7 empty] | nominal | 0.16172 | 0.0002295 | 0.00014101 | 0.00018501 | nm | 0.16172 | 0.0002295
[7 empty] | min | 0.16124 | 0.00023418 | 0.00014101 | 0.00018291 | nm | 0.16124 | 0.00023418
[7 empty] | calibration unc | 0.00023967 | nm
|  |  |  | gaussian fit | 2nd order | na-like | 2022-05-08
[8 empty] | shift | unc | os unc | ir unc
[7 empty] | max | 0.15446 | 0.00038523 | 0.00024622 | 0.00029628 | nm | 0.15446
[7 empty] | nominal | 0.15364 | 0.00040033 | 0.00024037 | 0.00032014 | nm | 0.15364 | 0.00023099
[7 empty] | min | 0.15271 | 0.00039619 | 0.00023341 | 0.00032014 | nm | 0.15271
[7 empty] | calibration unc | 0.0004087 | nm
|  |  |  | gaussian fit | 2nd order | mg-like | 2022-05-08
[8 empty] | shift | unc | os unc | ir unc
[7 empty] | max | 0.1631 | 0.00038523 | 0.00024622 | 0.00029628 | nm | 0.1631
[7 empty] | nominal | 0.16198 | 0.00040033 | 0.00024037 | 0.00032014 | nm | 0.16198 | 0.00077572
[7 empty] | min | 0.16106 | 0.00039619 | 0.00023341 | 0.00032014 | nm | 0.16106
[7 empty] | calibration unc | 0.00056475 | nm
1
2, 5, 6
3
4
1
2
3
4
1
2, 5, 6
3
4
1
2, 5, 6
3
4
1
2, 5, 6
3
4
1
2, 5, 6
3
4
1
2, 5, 6
3
4
1
2, 5, 6
3
4

## Nuclear Radius Table (3)
Theory: | Sapirstein |  |  | S_A D1 | -3699.9 | -3723 | c | 299792458
[5 empty] | -3741.68 |  | h | 6.6261e-34
|  |  |  | S_A D2 | -4000 |  | JeV | 6.2415e+18
[7 empty] | econv | 8065.5439 | [13 empty] | Val | unc | Val | unc | Val | unc | Val | unc
[21 empty] | method | Na Rel |  | Na Abs |  | Mg Rel |  | Mg Abs
Na-like exp | [5 empty] | Mg-like exp | [14 empty] | GRASP | 5.435 | 0.012155 | 5.4468 | 0.012608 | - | - | - | -
Wavelength | unc | diff unc (W) | eV | eV diff |  | Wavelength | unc | diff unc (W) | eV | eV diff | expshift | [9 empty] | RMBPT | 5.4325 | 0.011966 | 5.4443 | 0.012421 | 5.4335 | 0.010704 | 5.4319 | 0.013726
7.4477 | 0.0002 | 0.00028284 | 166.4731 | 3.5056 |  | 7.655 | 0.0002 | 0.00028284 | 161.965 | 3.5017 | 3.504 | 0.003 | eV
7.2941 | 0.0002 |  | 169.9787 |  |  | 7.493 | 0.0002 |  | 165.4667 |  | 0.1621 | 0.0002 | nm
0.1536 | [5 empty] | 0.162
expshift | [20 empty] | x | y | yerr | label
3.5026 | 0.004529 | eV |  |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  | 1.156e-13 | 1.936e-13 |  |  |  | 101 | 5.435 | 0.012155 | Na-like Relative / GRASP
0.1534 | 0.0002 | nm |  | 76 | Os | 184 | 108 | -0.32 | 0.018 | 5.3823 | 0.0022 | 0.0017 | 0.02 | 0.10765 |  | 4.9551e-10 | 7.3062e-10 |  |  |  | 102 | 5.4325 | 0.011966 | Na-like Absolute / GRASP
[6 empty] | 186 | 110 | -0.231 | 0.015 | 5.3909 | 0.0017 | 0.0014 | 1.59 | 8.5715 |  | 8.6436e-10 | 1.2447e-09 |  |  |  | 103 | 5.4468 | 0.012608 | Na-like Relative / RMBPT
[6 empty] | 187 | 111 | -0.205 | 0.016 | 5.3933 | 0.0018 | 0.0015 | 1.96 | 10.5709 |  | 1.753e-08 | 2.1211e-08 |  |  |  | 104 | 5.4443 | 0.012421 | Na-like Absolute / RMBPT
Theory Na | [5 empty] | 188 | 112 | -0.144 | 0.011 | 5.3993 | 0.0011 | 0.001 | 13.24 | 71.4867 |  | 3.156e-08 | 3.7558e-08 |  |  |  | 105 | 5.4335 | 0.010704 | Mg-like Relative / RMBPT
7.4462 | 0.0008 | 166.5067 | 0.019 |  |  | 189 | 113 | -0.119 | 0.012 | 5.4016 | 0.0012 | 0.0011 | 16.15 | 87.2358 |  | 2.4825e-08 | 1.1654e-07 |  |  |  | 106 | 5.4319 | 0.013726 | Mg-like Absolute / RMBPT
7.292 | 0.0025 | 170.0277 | 0.058 |  |  | 190 | 114 | -0.068 | 0.006 | 5.4062 | 0.0013 | 0.0006 | 26.26 | 141.9668 |  | 0 | 3.7418e-07 |  |  |  | 103.5 | 5.3968 | 0.1061 | Angeli
0.1542 | 0.0026249 | 3.521 | 0.061033 |  |  | 192 | 116 | 0 | 0 | 5.4126 | 0.0015 | 0 | 40.78 | 220.7258 | 5.4067 | 0.00027436 | 0.0007426
Theory Mg | [12 empty] | 100 | 540.6653 | avg radii | rel err prop | tot err prop | na-like
7.657 | 0.002 | 161.922 | 0.042 |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  |  |  | Nom | unc
7.4945 | 0.002 | 165.433 | 0.044 | 77 | Ir | 182 | 105 | -0.283 | 0.006 | 5.3705 | 0.1061 | 0.0007 | 0 | 0 |  |  | 182 | 5.4183 | 0.012493
0.1625 | 0.0028284 | 3.511 | 0.060828 |  |  | 183 | 106 | -0.203 | 0.005 | 5.378 | 0.1061 | 0.0005 | 0 | 0 |  |  | 183 | 5.4256 | 0.012472
[6 empty] | 184 | 107 | -0.176 | 0.003 | 5.3805 | 0.1061 | 0.0004 | 0 | 0 |  |  | 184 | 5.4281 | 0.012461
[6 empty] | 185 | 108 | -0.123 | 0.003 | 5.3854 | 0.1061 | 0.0003 | 0 | 0 |  |  | 185 | 5.433 | 0.01245
|  | 0.005 |  |  |  | 186 | 109 | -0.073 | 0.004 | 5.39 | 0.1061 | 0.0004 | 0 | 0 |  |  | 186 | 5.4376 | 0.012442
Na | [5 empty] | 187 | 110 | -0.168 | 0.003 | 5.3812 | 0.1061 | 0.0004 | 0 | 0 |  |  | 187 | 5.4289 | 0.012459
| val | err |  |  |  | 188 | 111 | -0.14 | 0.004 | 5.3838 | 0.1061 | 0.004 | 0 | 0 |  |  | 188 | 5.4315 | 0.012456
nuc rad shift | 0.041685 | 0.012418 | fm |  |  | 189 | 112 | -0.076 | 0.002 | 5.3898 | 0.1061 | 0.0002 | 0 | 0 |  |  | 189 | 5.4373 | 0.012438
[6 empty] | 191 | 114 | 0 | 0 | 5.3968 | 0.1061 | 0 | 37.3 | 201.3006 |  | -0.0040128 | 191 | 5.4443 | 0.012421 | 0.01244
|  | 0.011009 |  |  |  | 193 | 116 | 0.0691 | 0.001 | 5.4032 | 0.1061 | 0.0001 | 62.7 | 338.7806 |  | 0.0023872 | 193 | 5.4507 | 0.012407
Mg | [12 empty] | 100 | 540.0813 | 5.4008 |  | 5.4483 |  | 0.012513
| val | err |  |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel |  |  | avg radii |  | new avg Ir radius
nuc rad shift | 0.029289 | 0.013723 | fm | 74 | W | 180 | 106 | -0.168 | 0.006 | 5.3491 | 0.0022 | 0.0017 | [6 empty] | 0.017546
[6 empty] | 182 | 108 | -0.099 | 0.005 | 5.3559 | 0.0017 | 0.001 |  | 0.0064 | -0.06912 |  |  | 5.4507
[6 empty] | 183 | 109 | -0.047 | 0.006 | 5.3611 | 0.002 | 0.0007 |  | 0.0691
[6 empty] | 184 | 110 | 0 | 0 | 5.3658 | 0.0023 | 0
[6 empty] | 186 | 112 | 0.086 | 0.004 | 5.3743 | 0.0026 | 0.0009
mg-like
john/steve | [5 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | [5 empty] | Nom | unc
7.449 | 0.0013 | 166.44 | 0.03 | 75 | Re | 185 | 110 | 0 | 0 | 5.3596 | 0.0172 | 0 |  |  |  |  | 182 | 5.4058 | 0.013804
7.2948 | 0.0013 | 169.96 | 0.03 |  |  | 187 | 112 | 0.11 | 0.01 | 5.3698 | 0.0173 | 0.0009 |  |  |  |  | 183 | 5.4132 | 0.013781
0.1542 | 0.0018385 | 3.52 | 0.042426 | [13 empty] | 184 | 5.4157 | 0.01377
[6 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel |  |  |  |  | 185 | 5.4206 | 0.013758
|  |  |  | 78 | Pt | 183 | 105 | -0.196 | 0.02 | 5.4038 | 0.0036 | 0.0019 |  |  |  |  | 186 | 5.4252 | 0.013748
sapirstein | [5 empty] | 184 | 106 | -0.24 | 0.018 | 5.4015 | 0.0036 | 0.0017 |  |  |  |  | 187 | 5.4164 | 0.013768
7.4507 | 0.0013 | 166.407 | 0.03 |  |  | 185 | 107 | -0.09 | 0.005 | 5.4148 | 0.0028 | 0.0005 |  |  |  |  | 188 | 5.419 | 0.013764
7.2966 | 0.0013 | 169.92 | 0.03 |  |  | 186 | 108 | -0.213 | 0.004 | 5.4037 | 0.0036 | 0.0004 |  |  |  |  | 189 | 5.4249 | 0.013745
0.15404 | 0.0018385 | 3.513 | 0.01 |  |  | 187 | 109 | -0.188 | 0.004 | 5.4063 | 0.0037 | 0.0004 |  |  |  | -0.0040128 | 191 | 5.4319 | 0.013726 | 0.013743
[6 empty] | 188 | 110 | -0.193 | 0.003 | 5.4053 | 0.0034 | 0.0003 |  |  |  | 0.0023872 | 193 | 5.4383 | 0.01371
dipti | [5 empty] | 189 | 111 | -0.187 | 0.005 | 5.406 | 0.0035 | 0.0005 |  |  |  |  | 5.4359 |  | 0.014002
7.4462 | 0.0008 | 166.5067 | 0.019 | Na-like Os |  | 190 | 112 | -0.137 | 0.002 | 5.4108 | 0.003 | 0.0002 |  |  |  |  | new avg Ir radius
7.292 | 0.0025 | 170.0277 | 0.058 | Na-like Ir |  | 191 | 113 | -0.142 | 0.004 | 5.4102 | 0.0031 | 0.0004 | [6 empty] | 0.019393
0.1542 | 0.0026249 | 3.521 | 0.061033 | Diff |  | 192 | 114 | -0.073 | 0.002 | 5.4169 | 0.0028 | 0.0002 | [5 empty] | 5.4383
[6 empty] | 193 | 115 | -0.047 | 0.006 | 5.4191 | 0.0027 | 0.0006
[6 empty] | 194 | 116 | 0 | 0 | 5.4236 | 0.0025 | 0
[17 empty] | Angeli |  | Dipti |  | Steve |  | Sap |  | Steve Mg
sigma level | 2 | [14 empty] | 182 | 5.3705 | 0.1061 | 5.4168 | 0.02053 | 5.4112 | 0.007109 | 5.3962 | 0.10975 | 5.3906 | 0.0082616
[16 empty] | 183 | 5.378 | 0.1061 | 5.4242 | 0.0205 | 5.4186 | 0.0070927 | 5.4036 | 0.10959 | 5.398 | 0.0082445
[16 empty] | 184 | 5.3805 | 0.1061 | 5.4267 | 0.020487 | 5.4211 | 0.0070799 | 5.4061 | 0.10954 | 5.4005 | 0.0082323
[16 empty] | 185 | 5.3854 | 0.1061 | 5.4316 | 0.020469 | 5.426 | 0.0070735 | 5.411 | 0.10944 | 5.4054 | 0.0082249
[16 empty] | 186 | 5.39 | 0.1061 | 5.4362 | 0.020453 | 5.4306 | 0.0070717 | 5.4156 | 0.10935 | 5.41 | 0.0082215
[16 empty] | 187 | 5.3812 | 0.1061 | 5.4274 | 0.020484 | 5.4218 | 0.0070789 | 5.4068 | 0.10953 | 5.4012 | 0.0082312
[16 empty] | 188 | 5.3838 | 0.1061 | 5.43 | 0.020476 | 5.4244 | 0.0070797 | 5.4094 | 0.10948 | 5.4038 | 0.0082309
[16 empty] | 189 | 5.3898 | 0.1061 | 5.4359 | 0.020451 | 5.4303 | 0.0070649 | 5.4153 | 0.10936 | 5.4097 | 0.0082157
[16 empty] | 191 | 5.3968 | 0.1061 | 5.4429 | 0.020424 | 5.4373 | 0.0070534 | 5.4224 | 0.10921 | 5.4168 | 0.0082029
[5 empty] | 1 |  |  | 2 |  | 3 |  | 4 |  |  |  | 193 | 5.4032 | 0.1061 | 5.4492 | 0.020401 | 5.4437 | 0.0070457 | 5.4287 | 0.10909 | 5.4231 | 0.0081938
|  |  |  | Dipti | 7.3911e-06 |  |  | 1.87e-05 |  | 0.00038988 |  | 1.6206e-05 |  | 0.020789
|  |  |  | Steve | 7.3349e-06 |  |  | 1.0389e-05 |  | 0.00038508 |  | 1.4276e-05 |  | 0.020422
|  |  |  | Sap | 7.3911e-06 |  |  | 0.01188 |  | 9.747e-05 |  | 4.0515e-06 |  | 0.21898
|  |  | Dipti | Steve | Sap
|  | SA | -3700 | -3723 | -3700
|  | SB | -3353 | -3361 | -3353
|  | dRB | 0.0015 | 0.0015 | 0.0015
|  | d(EB-EA) | 10 | 10 | 403.2772
|  | dEm | 0.004529 | 0.004529 | 0.004529
|  | Em | 3.5026 | 3.5026 | 3.5026
|  | dRA | 0.040257 | 0.037783 | 0.022851
|  | econv | 8065.5439
|  | deltaEA | 158 | 143
|  | deltaEB | 150 | 137
|  |  | 8 | 6
D2
|  |  | 14.8964 | 0.0004 |  | 83.231 | 0.0022349
|  |  | 14.5892 | 0.0004 |  | 84.9835 | 0.00233
abs diff
|  |  | 0.3072 | 0.00056569 |  | 1.7526 | 0.004566
|  |  | 0.1536 |  |  | 3.5051 | 0.0064544
rel diff
|  |  | 0.30707 | 0.00027373
0.15353

## Steve Mg-like
| Transition energies in Mg-like Os and Ir | [5 empty] | D1 | SA |  | D2 | SA |  | cm-1 to eV
[7 empty] | Os | -3361 |  | Os | -3602 |  | 8065.6 |  | E difference measured |  | 0.002666 | 21.5029
Brief explanation: | [6 empty] | Ir | -3723 |  | Ir | -4000 |  |  |  | 3.5075
E(0), E(1), …, E(3) : 0th to 3rd-order RMBPT
SE(val), Uehl(val), and WK(val): diagonal (1-body) valence QED terms (self-energy, Uehling, and Wichmann-Kroll)
QED(val-x) and QED(core): diagonal (1-body) valence-exchange and core-relaxation QED
QED(2-loop): diagonal (1-body) two-loop QED corrections | [7 empty] | Angeli | Steve | dR | dE = SdR |  |  |  | New Energies
QED(2-body): 2-body QED terms specific to double-valence systems | [6 empty] | Os | 5.4066 | 5.4126 | -0.006 | 20.166 | cm-1 | 0.0025002 | eV | 161.922 | 3.5107
[7 empty] | Ir | 5.4008 | 5.4032 | -0.0024 | 8.9352 | cm-1 | 0.0011078 | eV | 165.4327
[8 empty] | dE | dR | dE(0) = SdR | eV
Units: eV | [6 empty] | Os | 0.001 | -0.006 | 20.166 | 0.0025002
[7 empty] | Ir | 0.047 | -0.0024 | 8.9352 | 0.0011078 |  |  |  | 0.0077598
Z = 76 (Os)
| 3s^2 – (3s3p*)_1 |  | 3s^2 – (3s3p)_1 |  | (3s3p*)_1 – (3p*3p)_2 |  | (3s3p*)_1 – (3s3d*)_2
E(0) | 172.0843 | 1 | 596.0108 | 1 | 596.0108 | 1 | 618.0311 | 1 |  | 0.0025002 | 6.2512e-06
E(1) | -4.6681 | 0 | 12.6658 |  | -4.3044 |  | 21.7384 |  |  | 0 | 0
E(2,1-body) | -0.3481 | 0 | -0.11236 |  | -0.086411 |  | -0.00025469 |  |  | 0 | 0
E(2,2-body) | 0.024116 | 0 | -0.57836 |  | 0.13341 |  | -0.82074 |  |  | 0 | 0
E(3,1-body) | 0.0020414 | 10.5739 | -0.00012915 | 17.8536 | -0.00010034 | 4.8167 | 1.1061e-05 | 24.8709 |  | 0.010574 | 0.00011181
Retardation (1-body) | 0.018623 | 11 | -0.65943 | 18 | -0.55019 | 18 | -0.18225 | 29 |  | 0.011 | 0.000121
Retardation (2-body) | 4.4809e-07 | 0 | 2.2807e-05 |  | 4.7076e-06 |  | 4.6355e-06 |  |  | 0 | 0
Nuclear recoil | -0.0065773 | 0 | -0.0079488 |  | -0.0077133 |  | -0.0068041 |  |  | 0 | 0
SE(val) | -6.2988 | 2 | -6.0394 | 2 | -5.1217 | 2 | -1.467 | 2 |  | 0.002 | 4e-06
Uehl(val) | 1.1458 | 0 | 1.2848 |  | 1.1015 |  | 0.29973 |  |  | 0 | 0
WK(val) | -0.044399 | 4.4399 | -0.050949 | 5.0949 | -0.043862 | 4.3862 | -0.013595 | 1.3595 |  | 0.0044399 | 1.9713e-05
QED(val-x) | 0.072758 | 0 | 0.076406 |  | 0.065728 |  | 0.019731 |  |  | 0 | 0
QED(core) | -0.12437 | 36.0231 | -0.066839 | 25.3787 | -0.041358 | 19.4144 | 0.067025 | 17.4671 |  | 0.036023 | 0.0012977
QED(2-loop) | 0.018491 | 5.5474 | 0.017062 | 5.1186 | 0.014608 | 4.3825 | 0.0040327 | 1.2098 |  | 0.0055474 | 3.0773e-05
QED(2-body) | 0.048669 | 14.6007 | 0.029517 | 8.855 | 0.033886 | 10.1658 | -0.0035356 | 1.0607 |  | 0.014601 | 0.00021318
TOTAL | 161.9245 | 42.4162 | 602.5691 | 37.7147 | 587.2043 | 29.5112 | 637.6658 | 42.1201 |  |  | 0.042478 | eV | Corrected unc.
Z = 77 (Ir)
| 3s^2 – (3s3p*)_1 |  | 3s^2 – (3s3p)_1 |  | (3s3p*)_1 – (3p*3p)_2 |  | (3s3p*)_1 – (3s3d*)_2
E(0) | 175.8663 | 47 | 627.0712 | 51 | 627.0712 | 51 | 648.4978 | 50 |  | 0.0011078 | 1.2273e-06
E(1) | -4.6816 | 0 | 12.6735 |  | -4.7482 |  | 22.2543 |  |  | 0 | 0
E(2,1-body) | -0.3532 | 0 | -0.10772 |  | -0.080674 |  | 0.0049366 |  |  | 0 | 0
E(2,2-body) | 0.021618 | 0 | -0.57537 |  | 0.14225 |  | -0.83128 |  |  | 0 | 0
E(3,1-body) | 0.0020574 | 10.5629 | -0.00018126 | 17.4735 | -0.00015527 | 4.8815 | -6.6889e-05 | 24.8148 |  | 0.010563 | 0.00011158
Retardation (1-body) | 0.023357 | 11 | -0.70628 | 19 | -0.58613 | 19 | -0.20286 | 31 |  | 0.011 | 0.000121
Retardation (2-body) | 4.7286e-07 | 0 | 2.6019e-05 |  | 5.4013e-06 |  | 5.1998e-06 |  |  | 0 | 0
Nuclear recoil | -0.0065804 | 0 | -0.0080585 |  | -0.0078441 |  | -0.007051 |  |  | 0 | 0
SE(val) | -6.6331 | 2 | -6.3772 | 2 | -5.3858 | 2 | -1.6121 | 2 |  | 0.002 | 4e-06
Uehl(val) | 1.2275 | 0 | 1.3822 |  | 1.1807 |  | 0.3343 |  |  | 0 | 0
WK(val) | -0.048619 | 4.8619 | -0.055915 | 5.5915 | -0.047936 | 4.7936 | -0.015266 | 1.5266 |  | 0.0048619 | 2.3639e-05
QED(val-x) | 0.075845 | 0 | 0.079672 |  | 0.068251 |  | 0.021116 |  |  | 0 | 0
QED(core) | -0.12979 | 37.5806 | -0.06833 | 26.24 | -0.041127 | 19.9212 | 0.069844 | 18.2415 |  | 0.037581 | 0.0014123
QED(2-loop) | 0.019766 | 5.9297 | 0.018265 | 5.4795 | 0.015583 | 4.6748 | 0.0044926 | 1.3478 |  | 0.0059297 | 3.5161e-05
QED(2-body) | 0.05026 | 15.078 | 0.030983 | 9.2948 | 0.035041 | 10.5122 | -0.0031501 | 0.94503 |  | 0.015078 | 0.00022735
TOTAL | 165.4338 | 64.3741 | 633.3567 | 64.0902 | 617.6152 | 59.5149 | 668.5149 | 66.4723 |  |  | 0.044003 | eV | corrected unc
3.5093

## Nuclear Radius Table
Theory: | Dipti (GRASP)
7.4472 | 0.0001803 |  | 0.0002259 | 0.00016061 |  | c | 299792458 |  | econv | 8065.5439
7.2943 | 0.0001361 |  |  |  |  | h | 6.6261e-34
0.15294 |  |  | 166.4844 | 3.4907 |  | JeV | 6.2415e+18
169.9751
expshift | [5 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  | 1.156e-13 | 1.936e-13
3.504 | 0.00366 | eV | 3.515 | 76 | Os | 184 | 108 | -0.32 | 0.018 | 5.3823 | 0.0022 | 0.0017 | 0.02 | 0.10765 |  | 4.9551e-10 | 7.3062e-10
0.15288 | 0.00016061 | nm | 0.005 |  |  | 186 | 110 | -0.231 | 0.015 | 5.3909 | 0.0017 | 0.0014 | 1.59 | 8.5715 |  | 8.6436e-10 | 1.2447e-09
theoshift |  |  | 3.5189 |  |  | 187 | 111 | -0.205 | 0.016 | 5.3933 | 0.0018 | 0.0015 | 1.96 | 10.5709 |  | 1.753e-08 | 2.1211e-08
3.5212 | 9.8755e-08 | eV |  |  |  | 188 | 112 | -0.144 | 0.011 | 5.3993 | 0.0011 | 0.001 | 13.24 | 71.4867 |  | 3.156e-08 | 3.7558e-08
[6 empty] | 189 | 113 | -0.119 | 0.012 | 5.4016 | 0.0012 | 0.0011 | 16.15 | 87.2358 |  | 2.4825e-08 | 1.1654e-07
| val | err |  |  |  | 190 | 114 | -0.068 | 0.006 | 5.4062 | 0.0013 | 0.0006 | 26.26 | 141.9668 |  | 0 | 3.7418e-07
grasp | 0.039996 | 0.008929 | fm |  |  | 192 | 116 | 0 | 0 | 5.4126 | 0.0015 | 0 | 40.78 | 220.7258 | 5.4067 | 0.00027436 | 0.0007426
grasp def | 0.039996 | 0.008929 | fm | [9 empty] | 100 | 540.6653 | avg radii | rel err prop | tot err prop
rmbpt | 0.05181 | 0.01012 | fm |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  |  |  | Nom | unc
|  |  |  | 77 | Ir | 182 | 105 | -0.283 | 0.006 | 5.3705 | 0.1061 | 0.0007 | 0 | 0 |  |  | 182 | 5.4166 | 0.0089933
theo- exp | uncert |  |  |  |  | 183 | 106 | -0.203 | 0.005 | 5.378 | 0.1061 | 0.0005 | 0 | 0 |  |  | 183 | 5.424 | 0.0089758
0.017192 | 0.00366 | eV |  |  |  | 184 | 107 | -0.176 | 0.003 | 5.3805 | 0.1061 | 0.0004 | 0 | 0 |  |  | 184 | 5.4264 | 0.0089641
[6 empty] | 185 | 108 | -0.123 | 0.003 | 5.3854 | 0.1061 | 0.0003 | 0 | 0 |  |  | 185 | 5.4313 | 0.0089561
[6 empty] | 186 | 109 | -0.073 | 0.004 | 5.39 | 0.1061 | 0.0004 | 0 | 0 |  |  | 186 | 5.4359 | 0.0089518
-0.11574 |  | -3699.9 | -3723 |  |  | 187 | 110 | -0.168 | 0.003 | 5.3812 | 0.1061 | 0.0004 | 0 | 0 |  |  | 187 | 5.4272 | 0.0089629
|  | -3741.68 |  |  |  | 188 | 111 | -0.14 | 0.004 | 5.3838 | 0.1061 | 0.004 | 0 | 0 |  |  | 188 | 5.4298 | 0.008962
0.11574 | [5 empty] | 189 | 112 | -0.076 | 0.002 | 5.3898 | 0.1061 | 0.0002 | 0 | 0 |  |  | 189 | 5.4356 | 0.0089466
[6 empty] | 191 | 114 | 0 | 0 | 5.3968 | 0.1061 | 0 | 37.3 | 201.3006 |  | -0.0040128 | 191 | 5.4426 | 0.0089332 | 0.0089598
[6 empty] | 193 | 116 | 0.0691 | 0.001 | 5.4032 | 0.1061 | 0.0001 | 62.7 | 338.7806 |  | 0.0023872 | 193 | 5.449 | 0.0089233
0.048014 |  |  | 11.877 | [9 empty] | 100 | 540.0813 | 5.4008 |  | 5.4466 |  | 0.0090251
0.047478 | [5 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel |  |  | avg radii |  | new avg Ir radius
0.047716 |  |  |  | 74 | W | 180 | 106 | -0.168 | 0.006 | 5.3491 | 0.0022 | 0.0017 | [6 empty] | 0.012619
[6 empty] | 182 | 108 | -0.099 | 0.005 | 5.3559 | 0.0017 | 0.001 |  | 0.0064 | -0.06912 |  |  | 5.449
[6 empty] | 183 | 109 | -0.047 | 0.006 | 5.3611 | 0.002 | 0.0007 |  | 0.0691
[6 empty] | 184 | 110 | 0 | 0 | 5.3658 | 0.0023 | 0
[6 empty] | 186 | 112 | 0.086 | 0.004 | 5.3743 | 0.0026 | 0.0009
[6 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel
|  |  |  | 75 | Re | 185 | 110 | 0 | 0 | 5.3596 | 0.0172 | 0
[6 empty] | 187 | 112 | 0.11 | 0.01 | 5.3698 | 0.0173 | 0.0009
[6 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel
|  |  |  | 78 | Pt | 183 | 105 | -0.196 | 0.02 | 5.4038 | 0.0036 | 0.0019
[6 empty] | 184 | 106 | -0.24 | 0.018 | 5.4015 | 0.0036 | 0.0017
[6 empty] | 185 | 107 | -0.09 | 0.005 | 5.4148 | 0.0028 | 0.0005
[6 empty] | 186 | 108 | -0.213 | 0.004 | 5.4037 | 0.0036 | 0.0004
[6 empty] | 187 | 109 | -0.188 | 0.004 | 5.4063 | 0.0037 | 0.0004
[6 empty] | 188 | 110 | -0.193 | 0.003 | 5.4053 | 0.0034 | 0.0003
[6 empty] | 189 | 111 | -0.187 | 0.005 | 5.406 | 0.0035 | 0.0005
[6 empty] | 190 | 112 | -0.137 | 0.002 | 5.4108 | 0.003 | 0.0002
[6 empty] | 191 | 113 | -0.142 | 0.004 | 5.4102 | 0.0031 | 0.0004
[6 empty] | 192 | 114 | -0.073 | 0.002 | 5.4169 | 0.0028 | 0.0002
[6 empty] | 193 | 115 | -0.047 | 0.006 | 5.4191 | 0.0027 | 0.0006
[6 empty] | 194 | 116 | 0 | 0 | 5.4236 | 0.0025 | 0

## Nuclear Radius Table (2)
Theory: | John/Steve |  |  | S_A D1 | -3699.9 | -3723 | c | 299792458
[5 empty] | -3741.68 |  | h | 6.6261e-34
|  |  |  | S_A D2 | -4000 |  | JeV | 6.2415e+18
[7 empty] | econv | 8065.5439
Na-like exp | [5 empty] | Mg-like exp
Wavelength | unc | diff unc (W) | eV | eV diff |  | Wavelength | unc | diff unc (W) | eV | eV diff | expshift
7.4477 | 0.0002 | 0.00028284 | 166.4731 | 3.5056 |  | 7.655 | 0.0002 | 0.00028284 | 161.965 | 3.5017 | 3.504 | 0.003 | eV
7.2941 | 0.0002 |  | 169.9787 |  |  | 7.493 | 0.0002 |  | 165.4667 |  | 0.1621 | 0.0002 | nm
0.1536 | [5 empty] | 0.162
expshift
3.504 | 0.003 | eV |  |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  | 1.156e-13 | 1.936e-13
0.1534 | 0.0002 | nm |  | 76 | Os | 184 | 108 | -0.32 | 0.018 | 5.3823 | 0.0022 | 0.0017 | 0.02 | 0.10765 |  | 4.9551e-10 | 7.3062e-10
[6 empty] | 186 | 110 | -0.231 | 0.015 | 5.3909 | 0.0017 | 0.0014 | 1.59 | 8.5715 |  | 8.6436e-10 | 1.2447e-09
[6 empty] | 187 | 111 | -0.205 | 0.016 | 5.3933 | 0.0018 | 0.0015 | 1.96 | 10.5709 |  | 1.753e-08 | 2.1211e-08
Theory Na | [5 empty] | 188 | 112 | -0.144 | 0.011 | 5.3993 | 0.0011 | 0.001 | 13.24 | 71.4867 |  | 3.156e-08 | 3.7558e-08
7.449 | 0.0013 | 166.44 | 0.03 |  |  | 189 | 113 | -0.119 | 0.012 | 5.4016 | 0.0012 | 0.0011 | 16.15 | 87.2358 |  | 2.4825e-08 | 1.1654e-07
7.2948 | 0.0013 | 169.96 | 0.03 |  |  | 190 | 114 | -0.068 | 0.006 | 5.4062 | 0.0013 | 0.0006 | 26.26 | 141.9668 |  | 0 | 3.7418e-07
0.1542 | 0.0018385 | 3.52 | 0.042426 |  |  | 192 | 116 | 0 | 0 | 5.4126 | 0.0015 | 0 | 40.78 | 220.7258 | 5.4067 | 0.00027436 | 0.0007426
Theory Mg | [12 empty] | 100 | 540.6653 | avg radii | rel err prop | tot err prop | na-like
7.657 | 0.002 | 161.922 | 0.042 |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | rel abundance (%) |  |  |  |  | Nom | unc
7.4945 | 0.002 | 165.433 | 0.044 | 77 | Ir | 182 | 105 | -0.283 | 0.006 | 5.3705 | 0.1061 | 0.0007 | 0 | 0 |  |  | 182 | 5.4167 | 0.050612
0.1625 | 0.0028284 | 3.511 | 0.060828 |  |  | 183 | 106 | -0.203 | 0.005 | 5.378 | 0.1061 | 0.0005 | 0 | 0 |  |  | 183 | 5.4241 | 0.050542
[6 empty] | 184 | 107 | -0.176 | 0.003 | 5.3805 | 0.1061 | 0.0004 | 0 | 0 |  |  | 184 | 5.4266 | 0.050517
[6 empty] | 185 | 108 | -0.123 | 0.003 | 5.3854 | 0.1061 | 0.0003 | 0 | 0 |  |  | 185 | 5.4314 | 0.050472
|  | 0.005 |  |  |  | 186 | 109 | -0.073 | 0.004 | 5.39 | 0.1061 | 0.0004 | 0 | 0 |  |  | 186 | 5.436 | 0.05043
Na | [5 empty] | 187 | 110 | -0.168 | 0.003 | 5.3812 | 0.1061 | 0.0004 | 0 | 0 |  |  | 187 | 5.4273 | 0.050511
| val | err |  |  |  | 188 | 111 | -0.14 | 0.004 | 5.3838 | 0.1061 | 0.004 | 0 | 0 |  |  | 188 | 5.4299 | 0.050487
nuc rad shift | 0.04012 | 0.050366 | fm |  |  | 189 | 112 | -0.076 | 0.002 | 5.3898 | 0.1061 | 0.0002 | 0 | 0 |  |  | 189 | 5.4358 | 0.050432
[6 empty] | 191 | 114 | 0 | 0 | 5.3968 | 0.1061 | 0 | 37.3 | 201.3006 |  | -0.0040128 | 191 | 5.4428 | 0.050366 | 0.050371
[6 empty] | 193 | 116 | 0.0691 | 0.001 | 5.4032 | 0.1061 | 0.0001 | 62.7 | 338.7806 |  | 0.0023872 | 193 | 5.4491 | 0.050308
Mg | [12 empty] | 100 | 540.0813 | 5.4008 |  | 5.4468 |  | 0.050458
| val | err |  |  |  | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel |  |  | avg radii |  | new avg Ir radius
nuc rad shift | 0.014115 | 0.0081983 | fm | 74 | W | 180 | 106 | -0.168 | 0.006 | 5.3491 | 0.0022 | 0.0017 | [6 empty] | 0.071146
[6 empty] | 182 | 108 | -0.099 | 0.005 | 5.3559 | 0.0017 | 0.001 |  | 0.0064 | -0.06912 |  |  | 5.4492
[6 empty] | 183 | 109 | -0.047 | 0.006 | 5.3611 | 0.002 | 0.0007 |  | 0.0691
[6 empty] | 184 | 110 | 0 | 0 | 5.3658 | 0.0023 | 0
| 0.04012 | 0.0087593 | 0.050366 |  |  | 186 | 112 | 0.086 | 0.004 | 5.3743 | 0.0026 | 0.0009
| 0.037058 | 0.005 | [15 empty] | mg-like
[6 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel | [5 empty] | Nom | unc
| 0.04012 | 0.050366 |  | 75 | Re | 185 | 110 | 0 | 0 | 5.3596 | 0.0172 | 0 |  |  |  |  | 182 | 5.3906 | 0.0082616
[6 empty] | 187 | 112 | 0.11 | 0.01 | 5.3698 | 0.0173 | 0.0009 |  |  |  |  | 183 | 5.398 | 0.0082445
[17 empty] | 184 | 5.4005 | 0.0082323
[6 empty] | A | N | δ<r^2> (fm^2) | Δ δ<r^2> (fm^2) | R (fm) | ΔR_tot (fm) | Δ R_rel |  |  |  |  | 185 | 5.4054 | 0.0082249
|  |  |  | 78 | Pt | 183 | 105 | -0.196 | 0.02 | 5.4038 | 0.0036 | 0.0019 |  |  |  |  | 186 | 5.41 | 0.0082215
[6 empty] | 184 | 106 | -0.24 | 0.018 | 5.4015 | 0.0036 | 0.0017 |  |  |  |  | 187 | 5.4012 | 0.0082312
[6 empty] | 185 | 107 | -0.09 | 0.005 | 5.4148 | 0.0028 | 0.0005 |  |  |  |  | 188 | 5.4038 | 0.0082309
[6 empty] | 186 | 108 | -0.213 | 0.004 | 5.4037 | 0.0036 | 0.0004 |  |  |  |  | 189 | 5.4097 | 0.0082157
[6 empty] | 187 | 109 | -0.188 | 0.004 | 5.4063 | 0.0037 | 0.0004 |  |  |  | -0.0040128 | 191 | 5.4168 | 0.0082029 | 0.0082319
[6 empty] | 188 | 110 | -0.193 | 0.003 | 5.4053 | 0.0034 | 0.0003 |  |  |  | 0.0023872 | 193 | 5.4231 | 0.0081938
[6 empty] | 189 | 111 | -0.187 | 0.005 | 5.406 | 0.0035 | 0.0005 |  |  |  |  | 5.4208 |  | 0.0084799
[6 empty] | 190 | 112 | -0.137 | 0.002 | 5.4108 | 0.003 | 0.0002 |  |  |  |  | new avg Ir radius
[6 empty] | 191 | 113 | -0.142 | 0.004 | 5.4102 | 0.0031 | 0.0004 | [6 empty] | 0.011594
[6 empty] | 192 | 114 | -0.073 | 0.002 | 5.4169 | 0.0028 | 0.0002 | [5 empty] | 5.4232
[6 empty] | 193 | 115 | -0.047 | 0.006 | 5.4191 | 0.0027 | 0.0006
[6 empty] | 194 | 116 | 0 | 0 | 5.4236 | 0.0025 | 0
OLD
[5 empty] | Nom | unc |  |  |  |  | NEW
|  |  |  | 182 | 5.4136 | 0.0050621 |  |  |  |  | Nom | unc
|  |  |  | 183 | 5.421 | 0.0050459 |  |  |  | 182 | 5.4167 | 0.0088232
|  |  |  | 184 | 5.4235 | 0.0050301 |  |  |  | 183 | 5.4241 | 0.0088059
|  |  |  | 185 | 5.4284 | 0.0050256 |  |  |  | 184 | 5.4266 | 0.0087941
|  |  |  | 186 | 5.433 | 0.0050272 |  |  |  | 185 | 5.4314 | 0.0087862
|  |  |  | 187 | 5.4242 | 0.0050294 |  |  |  | 186 | 5.436 | 0.0087821
|  |  |  | 188 | 5.4268 | 0.0050329 |  |  |  | 187 | 5.4273 | 0.0087929
|  |  |  | 189 | 5.4327 | 0.0050173 |  |  |  | 188 | 5.4299 | 0.0087921
|  |  | -0.0040128 | 191 | 5.4397 | 0.0050075 | 0.0050548 |  |  | 189 | 5.4358 | 0.0087768
|  |  | 0.0023872 | 193 | 5.446 | 0.0050025 |  |  | -0.0040128 | 191 | 5.4428 | 0.0087636 | 0.0087907
|  |  |  | 5.4437 |  | 0.0050994 |  |  | 0.0023872 | 193 | 5.4491 | 0.0087539
|  |  |  | new avg Ir radius | [5 empty] | 5.4468 |  | 0.0088555
[6 empty] | 0.0070746 |  |  |  | new avg Ir radius
[5 empty] | 5.4461 | [6 empty] | 0.01238
5.4492
NEW BAD
[11 empty] | Nom | unc
[10 empty] | 182 | 5.4167 | 0.050612
[10 empty] | 183 | 5.4241 | 0.050542
[10 empty] | 184 | 5.4266 | 0.050517
[10 empty] | 185 | 5.4314 | 0.050472
[10 empty] | 186 | 5.436 | 0.05043
[10 empty] | 187 | 5.4273 | 0.050511
[10 empty] | 188 | 5.4299 | 0.050487
[10 empty] | 189 | 5.4358 | 0.050432
[9 empty] | -0.0040128 | 191 | 5.4428 | 0.050366 | 0.050371
[9 empty] | 0.0023872 | 193 | 5.4491 | 0.050308
[10 empty] | 5.4468 |  | 0.050458
new avg Ir radius
0.071146
5.4492

## Exp Results (Adam Calibration)
| Absolute Experimental Wavelengths | [5 empty] | Approx avg. Calibration unc
[8 empty] | nm | 8065.5439
| x | Na-like | unc | x | Mg-like | unc
1 | Os | 7.4476 | 0.00018016 | x | 7.6551 | 0.0001683
3 | Ir | 7.2941 | 0.0001683 | x | 7.493 | 0.00016813
Relative Difference
| x | Na-like | unc | x | Mg-like | unc
| Energy: | 3.5043 | 0.0026661 | x | 3.505 | 0.0031606
Theoretical Results
|  | Dipti |  |  | Steve
| x | Na-like | unc | x | Mg-like | unc
2 | Os | 7.4462 | 0.0008317 | x | 7.657 | 0.001986
4 | Ir | 7.292 | 0.0024672 | x | 7.4945 | 0.0028993
Steve
Os | 7.4484 | 0.0013 | 1.5
Ir | 7.2948 | 0.0013 | 3.5

## Na-like Os
3s-3p1/2 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 166.5203 | 40.78 |  | 40264424419.335 | 40.78 | 6790.697 | c | 299792458 |  | uncorrected
Os190 | 166.5229 | 26.26 |  | 40265054012.2876 | 26.26 | 4372.8909 | h | 6.6261e-34 |  | Gillaspy: |  |  |  |  | cm-1 | 8065.5439
Os189 | 166.5357 | 16.15 | 0.0625 | 40268152967.9852 | 1.0094 | 168.097 | JeV | 6.2415e+18 | Energy | wavelength | unc | SA | Nuc Rad |  | dE = SdR | eV |  | new energy
| 166.5441 |  | 0.3125 | 40270195021.4659 | 5.0469 | 840.5275 |  |  | 166.4575 | 7.4484 | 0.0013 | -3361 | 5.376 |  | -102.8466 | -0.012751 |  | 166.4447 | eV
| 166.5098 |  | 0.3125 | 40261902221.1688 | 5.0469 | 840.3544
| 166.5183 |  | 0.3125 | 40263944274.6495 | 5.0469 | 840.397 |  |  |  | corrected
Os188 | 166.5257 | 13.24 |  | 40265735658.8265 | 13.24 | 2204.8003 |  |  |  | wavelength | unc | SA | Nuc Rad |  | New energy diff
Os187 | 166.5301 | 1.96 | 0 | 40267112072.7824 | 0 | 0 |  |  |  | 7.449 | 0.0013 | -3361 | 5.4066 |  | 3.5178
| 166.5314 |  | 0.25 | 40267712248.8345 | 0.49 | 81.6004
| 166.5263 |  | 0.25 | 40265274798.4604 | 0.49 | 81.5979
| 166.5276 |  | 0.5 | 40265874974.5125 | 0.98 | 163.197
Os186 | 166.5292 | 1.59 |  | 40266570568.3603 | 1.59 | 264.7814
Os184 | 166.5327 | 0.02 |  | 40267420037.7464 | 0.02 | 3.3307
[6 empty] | 166.5227 | Took average over intensity
3s-3p3/2 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 590.4929 | 40.78 |  | 142780545586.2904 | 40.78 | 24080.3001 |  |  |  |  | Adams calibration | [5 empty] | Sams calibration
Os190 | 590.4957 | 26.26 |  | 142781217697.7573 | 26.26 | 15506.4163 |  |  |  |  | Absolute difference Na-like | [5 empty] | Absolute difference Na-like
Os189 | 590.5145 | 16.15 | 0.0625 | 142785766317.7894 | 1.0094 | 596.0506
| 590.4886 |  | 0 | 142779515570.973 | 0 | 0 |  |  |  |  | 7.4477 | 0.0002 |  |  |  |  | 7.4476 | 0.0002
| 590.5131 |  | 0.15625 | 142785442037.9633 | 2.5234 | 1490.123 |  |  |  |  | 166.4731 | 0.0044705 |  |  |  |  | 166.4754 | 0.0044706
| 590.4873 |  | 0.03125 | 142779191291.1469 | 0.50469 | 298.0116
| 590.5122 |  | 0.15625 | 142785223401.1388 | 2.5234 | 1490.1207 | [7 empty] | 3.5056 | 0.0064581 |  |  |  |  | 3.5034 | 0.0064582
| 590.4864 |  | 0.15625 | 142778972654.3224 | 2.5234 | 1490.0555 |  |  |  |  | 7.2941 | 0.0002 |  |  |  |  | 7.2941 | 0.0002
| 590.5153 |  | 0 | 142785970252.9711 | 0 | 0 |  |  |  |  | 169.9787 | 0.0046607 |  |  |  |  | 169.9787 | 0.0046607
| 590.4895 |  | 0.4375 | 142779719506.1547 | 7.0656 | 4172.1772
Os188 | 590.4987 | 13.24 |  | 142781945516.6932 | 13.24 | 7818.2025
Os187 | 590.5042 | 1.96 | 0.25 | 142783287233.6379 | 0.49 | 289.3471
| 590.5004 |  | 0.125 | 142782368596.4769 | 0.245 | 144.6726
| 590.5045 |  | 0 | 142783349330.8407 | 0 | 0 |  |  |  |  | Absolute difference Mg-like | [5 empty] | Absolute difference Mg-like
| 590.5007 |  | 0.625 | 142782430693.6797 | 1.225 | 723.3633
Os186 | 590.5024 | 1.59 |  | 142782837472.5696 | 1.59 | 938.8988 |  |  |  |  | 7.655 | 0.0002 |  |  |  |  | 7.6551 | 0.0002
Os184 | 590.5061 | 0.02 |  | 142783744988.1834 | 0.02 | 11.8101 |  |  |  |  | 161.965 | 0.0042316 |  |  |  |  | 161.9629 | 0.0042315
590.4955
D1 transition energy | [13 empty] | 3.5017 | 0.0061166 |  |  |  |  | 3.5038 | 0.0061165
Area % | Energy centroid (eV) | λ (nm) | Diff (nm) | [7 empty] | 7.493 | 0.0002 |  |  |  |  | 7.493 | 0.0002
5.0695 | 166.5098 | 7.4461 | [8 empty] | 165.4667 | 0.0044166 |  |  |  |  | 165.4667 | 0.0044166
61.3942 | 166.5207 | 7.4456 |  |  |  |  | Took average over intensity
5.093 | 166.5442 | 7.4445
26.4946 | 166.5249 | 7.4454
1.9487 | 166.5335 | 7.445 | 0.0010652
| Avergared over intensity |  |  |  | 3.5212
| 166.5227 | 7.4455
D2 transition energy
6.3967 | 590.4877 | 2.0997
71.2236 | 590.4928 | 2.0997
14.6403 | 590.499 | 2.0997
6.1205 | 590.5136 | 2.0996
1.6189 | 590.5035 | 2.0996
Averaged over intensity
| 590.4948 | 2.0997
SA (nuclear sensitivity coefficient) | GRASP (cm-1/fm) |  | RMBPT (cm-1/fm)
D1 | -3353.2623 | No deformation | -3361
| -3381.803 | deformation
D2 | -3592.6837 | No deformation | -3602
| -3623.1506 | deformation

## Na-like Ir
3s-3p1/2 | Energy (in eV) | Abundance | Hyperfine-relative intensity | Enegy (MHz) | Relative intensity
Ir193 | 170.0456 | 62.7 | 0.0625 | 41116847115.2626 | 3.9188 | 666.3663
| 170.0478 |  | 0.3125 | 41117373734.732 | 19.5938 | 3331.874 |  | c | 299792458 |  | uncorrected
| 170.039 |  | 0.3125 | 41115238802.2186 | 19.5938 | 3331.701 |  | h | 6.6261e-34 |  | Gillaspy: |  |  |  |  | cm-1 | 8065.5439
| 170.0411 |  | 0.3125 | 41115765421.688 | 19.5938 | 3331.7436 |  | JeV | 6.2415e+18 | Energy | wavelength | unc | SA | Nuc Rad |  | dE = SdR | eV |  | new energy
[10 empty] | 169.9624 | 7.2948 | 0.0013 | -3723 | 5.401 |  | 0.7446 | 9.2319e-05 |  | 169.9625 | eV
Ir191 | 170.0483 | 37.3 | 0.0625 | 41117493193.934 | 2.3312 | 396.4251
| 170.0503 |  | 0.3125 | 41117976819.0469 | 11.6562 | 1982.1487 |  |  |  |  | corrected
| 170.0422 |  | 0.3125 | 41116016104.0898 | 11.6562 | 1982.0542 |  |  |  |  | wavelength | unc | SA | Nuc Rad
| 170.0442 |  | 0.3125 | 41116499729.2027 | 11.6562 | 1982.0775 |  |  |  |  | 7.2948 | 0.0013 | -3361 | 5.4008
[6 empty] | 170.0439 | Took the average by inensity
3s-3p3/2 | Energy (in eV) | Abundance | Hyperfine-relative intensity | Enegy (MHz) | Relative intensity
Ir193 | 621.2743 | 62.7 | 0.0625 | 150223450363.6313 | 3.9188 | 2434.6185
| 621.2676 |  | 0 | 150221842050.5873 | 0 | 0
| 621.2727 |  | 0.15625 | 150223081090.7879 | 9.7969 | 6086.5314
| 621.2661 |  | 0.03125 | 150221472777.7439 | 1.9594 | 1217.2932 |  |  |  | 7.657 | 0.0019861 |  | 7.449 | 0.0013
| 621.2713 |  | 0.15625 | 150222738507.5651 | 9.7969 | 6086.5175 |  |  |  | 7.4945 | 0.0019933 |  | 7.2948 | 0.0013
| 621.2647 |  | 0.15625 | 150221130194.521 | 9.7969 | 6086.4524 |  |  |  | 0.1625 | 0.0028139
| 621.2733 |  | 0 | 150223214538.8906 | 0 | 0 | [6 empty] | 166.444 | 0.029048
| 621.2666 |  | 0.4375 | 150221606225.8465 | 27.4313 | 17042.1206 | [6 empty] | 169.962 | 0.030289
[6 empty] | 0 |  |  |  | 0.060828
Ir191 | 621.2772 | 37.3 | 0.0625 | 150224169924.2456 | 2.3312 | 1448.3526
| 621.2711 |  | 0 | 150222692834.4013 | 0 | 0 |  |  |  | sap
| 621.2756 |  | 0.15625 | 150223764200.8802 | 5.8281 | 3620.8717 |  |  |  | uncorrected |  |  |  |  | dE = SdR | eV |  | sap new energy
| 621.2695 |  | 0.03125 | 150222287111.0359 | 1.1656 | 724.1672 |  |  | 166.42 | 7.4501 | -3353 | 5.376 |  |  | -102.6018 | -0.012721 |  | 166.4073
| 621.274 |  | 0.15625 | 150223382987.6595 | 5.8281 | 3620.8625
| 621.2679 |  | 0.15625 | 150221905897.8153 | 5.8281 | 3620.8269 |  |  |  | corrected
| 621.2761 |  | 0 | 150223886751.6042 | 0 | 0 |  |  |  | 7.4507 | -3353 | 5.4066
| 621.27 |  | 0.4375 | 150222409661.76 | 16.3187 | 10138.3493
[6 empty] | 621.2696 | Took the average by intensity | [7 empty] | 0.15344
3.51
0.1544
D1 transition energy
Area % | Energy centroid (eV) | λ (nm) | Diff (nm)
59.8304 | 170.041 | 7.2914
40.1696 | 170.0482 | 7.2911 | 0.00030663
Avergared over intensity
| 170.0439 | 7.2913
D2 transition energy
59.0341 | 621.2671 | 1.9957
40.9659 | 621.2731 | 1.9956
Averaged over intensity
| 621.2695 | 1.9957
SA (nuclear sensitivity coefficient) | GRASP (cm-1/fm) |  | RMBPT (cm-1/fm)
D1 | -3699.9256 | No deformation | -3723
| -3741.6805 | deformation
D2 | -3974.3819 | No deformation
| -4019.0672 | deformation | -4000

## Comparison (no Sam)
3s-3p1/2 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 166.5203 | 40.78 |  | 40264424419.335 | 40.78 |  |  |  | Os192 | 166.5203 | 40.78 | 67.907
Os190 | 166.5229 | 26.26 |  | 40265054012.2876 | 26.26 |  |  |  | Os190 | 166.5229 | 26.26 | 43.7289
Os189 | 166.5357 | 16.15 | 0.0625 | 40268152967.9852 | 1.0094 | 0.0625 | 10.4085 |  | Os189 | 166.5248 | 16.15 | 26.8938
| 166.5441 |  | 0.3125 | 40270195021.4659 | 5.0469 | 0.3125 | 52.045 |  | Os188 | 166.5257 | 13.24 | 22.048
| 166.5098 |  | 0.3125 | 40261902221.1688 | 5.0469 | 0.3125 | 52.0343 |  | Os187 | 166.5282 | 1.96 | 3.264
| 166.5183 |  | 0.3125 | 40263944274.6495 | 5.0469 | 0.3125 | 52.037 | 16.15 | Os186 | 166.5292 | 1.59 | 2.6478
Os188 | 166.5257 | 13.24 |  | 40265735658.8265 | 13.24 |  |  |  | Os184 | 166.5327 | 0.02 | 0.033307
Os187 | 166.5301 | 1.96 | 0 | 40267112072.7824 | 0 | 0 | 0
| 166.5314 |  | 0.25 | 40267712248.8345 | 0.49 | 0.25 | 41.6328 |  |  |  | 100 | 166.5227
| 166.5263 |  | 0.25 | 40265274798.4604 | 0.49 | 0.25 | 41.6316
| 166.5276 |  | 0.5 | 40265874974.5125 | 0.98 | 0.5 | 83.2638 | 1.96
Os186 | 166.5292 | 1.59 |  | 40266570568.3603 | 1.59
Os184 | 166.5327 | 0.02 |  | 40267420037.7464 | 0.02
0.1542
| sam |  |  |  |  | john
| 0.1535 | 0.00028284 |  |  |  | 7.449
| 0.1621 |  |  |  |  | 7.2948
|  | na | mg |  |  | 0.1542 | 0.0018385
|  | 0.00014698 | 0.00014594
| adam |  |  |  | 161.922 | 0.042 |  | 7.657 | 0.0019861
| 0.1536 |  |  |  | 165.433 | 0.044 |  | 7.4945 | 0.0019933
| 0.162 | na | mg |  |  |  |  | 0.1625
|  | 0.00014914 | 0.00015447
|  |  |  | Os Na |  |  |  | Ir Na
|  | Number | Author | value | unc |  | Person | value | unc
|  | 1 | Experiment | 7.4476 | 0.00018016 |  | Experiment | 7.2941 | 0.0001683
|  | 2 | Dipti | 7.4462 | 0.0008317 |  | Dipti | 7.292 | 0.0024672
|  | 3 | Steve/John | 7.449 | 0.0013 |  | Steve/John | 7.2948 | 0.0013
|  | 4 | Sapirstein | 7.4507 | 0.0022386 |  | Sapirstein | 7.2966 | 0.0021471
|  |  |  | Os Mg |  |  |  | Ir Mg
|  |  | Person | value | unc |  | Person | value | unc
|  |  | Experiment | 7.6551 | 0.0001683 |  | Experiment | 7.493 | 0.00016813
|  |  | Dipti |  |  |  | Dipti
|  |  | Steve | 7.657 | 0.002 |  | Steve | 7.4945 | 0.002
|  |  | Sapirstein |  |  |  | Sapirstein

## Sheet1
3s-3p1/2 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 166.5203 | 40.78 |  | 40264424419.335 | 40.78 |  |  |  | Os192 | 166.5203 | 40.78 | 67.907
Os190 | 166.5229 | 26.26 |  | 40265054012.2876 | 26.26 |  |  |  | Os190 | 166.5229 | 26.26 | 43.7289
Os189 | 166.5357 | 16.15 | 0.0625 | 40268152967.9852 | 1.0094 | 0.0625 | 10.4085 |  | Os189 | 166.5248 | 16.15 | 26.8938
| 166.5441 |  | 0.3125 | 40270195021.4659 | 5.0469 | 0.3125 | 52.045 |  | Os188 | 166.5257 | 13.24 | 22.048
| 166.5098 |  | 0.3125 | 40261902221.1688 | 5.0469 | 0.3125 | 52.0343 |  | Os187 | 166.5282 | 1.96 | 3.264
| 166.5183 |  | 0.3125 | 40263944274.6495 | 5.0469 | 0.3125 | 52.037 | 16.15 | Os186 | 166.5292 | 1.59 | 2.6478
Os188 | 166.5257 | 13.24 |  | 40265735658.8265 | 13.24 |  |  |  | Os184 | 166.5327 | 0.02 | 0.033307
Os187 | 166.5301 | 1.96 | 0 | 40267112072.7824 | 0 | 0 | 0
| 166.5314 |  | 0.25 | 40267712248.8345 | 0.49 | 0.25 | 41.6328 |  |  |  | 100 | 166.5227
| 166.5263 |  | 0.25 | 40265274798.4604 | 0.49 | 0.25 | 41.6316
| 166.5276 |  | 0.5 | 40265874974.5125 | 0.98 | 0.5 | 83.2638 | 1.96
Os186 | 166.5292 | 1.59 |  | 40266570568.3603 | 1.59
Os184 | 166.5327 | 0.02 |  | 40267420037.7464 | 0.02
0.1542
| sam |  |  |  |  | john
| 0.1535 | 0.00028284 |  |  |  | 7.449
| 0.1621 |  |  |  |  | 7.2948
|  | na | mg |  |  | 0.1542 | 0.0018385
|  | 0.00014698 | 0.00014594
| adam |  |  |  | 161.922 | 0.042 |  | 7.657 | 0.0019861
| 0.1536 |  |  |  | 165.433 | 0.044 |  | 7.4945 | 0.0019933
| 0.162 | na | mg |  |  |  |  | 0.1625
|  | 0.00014914 | 0.00015447
|  |  |  | Os Na |  |  |  | Ir Na
|  | Number | Person | value | unc |  | Person | value | unc
|  | 1 | Adam | 7.4476 | 0.00018016 |  | Adam | 7.2941 | 0.0001683
|  | 2 | Sam | 7.4477 | 0.0002 |  | Sam | 7.2946 | 0.0002
|  | 3 | Dipti | 7.4462 | 0.0008317 |  | Dipti | 7.292 | 0.0024672
|  | 4 | Steve/John | 7.449 | 0.0013 |  | Steve/John | 7.2948 | 0.0013
|  | 5 | Sapirstein | 7.4507 | 0.0022386 |  | Sapirstein | 7.2966 | 0.0021471
|  |  |  | Os Mg |  |  |  | Ir Mg
|  |  | Person | value | unc |  | Person | value | unc
|  |  | Adam | 7.6551 | 0.0001683 |  | Adam | 7.493 | 0.00016813
|  |  | Sam | 7.6553 | 0.0002 |  | Sam | 7.4932 | 0.0002
|  |  | Dipti |  |  |  | Dipti
|  |  | Steve | 7.657 | 0.002 |  | Steve | 7.4945 | 0.002
|  |  | Sapirstein |  |  |  | Sapirstein

## GRASP Mg-like Ir
3s2-3s3p 3P1 | Energy (in eV) | Abundance | Hyperfine-relative intensity | Enegy (MHz) | Relative intensity
Ir193 | 165.1474 | 62.7 | 0.33333 | 39932466391.0441 | 20.9 | 3451.5809
| 165.151 |  | 0.33333 | 39933340540.7128 | 20.9 | 3451.6565
| 165.1563 |  | 0.33333 | 39934605622.5829 | 20.9 | 3451.7658
Ir191 | 165.1506 | 37.3 | 0.33333 | 39933246679.4003 | 12.4333 | 2053.3729
| 165.154 |  | 0.33333 | 39934064159.0539 | 12.4333 | 2053.415 |  | 165.1588
| 165.1588 |  | 0.33333 | 39935218186.0135 | 12.4333 | 2053.4743 |  | 165.1474 | 0.011381
[6 empty] | 165.1527 | Took the average by inensity
3s2-3s3p 1P1 | Energy (in eV) | Abundance | Hyperfine-relative intensity | Enegy (MHz) | Relative intensity
Ir193 | 633.2291 | 62.7 | 0.33333 | 153114112809.8859 | 20.9 | 13234.488
| 633.2259 |  | 0.33333 | 153113342156.7513 | 20.9 | 13234.4214
| 633.2254 |  | 0.33333 | 153113228750.2167 | 20.9 | 13234.4116
Ir191 | 633.2321 | 37.3 | 0.33333 | 153114834300.2695 | 12.4333 | 7873.1855
| 633.2288 |  | 0.33333 | 153114038100.3047 | 12.4333 | 7873.1445
| 633.2286 |  | 0.33333 | 153113983007.3821 | 12.4333 | 7873.1417
633.2279
D1 transition energy
Area % | Energy centroid (eV) | λ (nm) | Diff (nm)
| 165.1527 | 7.5072
D2 transition energy
SA (nuclear sensitivity coefficient) | GRASP (cm-1/fm) |  | RMBPT (cm-1/fm)
D1 | -3616.2852 | No deformation
| -3657.0928 | deformation
D2 | -3904.9 | No deformation
| -3948.8001 | deformation

## GRASP Mg-like Os
3s2-3s3p 3P1 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 161.6502 | 40.78 |  | 39086854128.6718 | 40.78 | 6592.0968
Os190 | 161.6528 | 26.26 |  | 39087469609.8101 | 26.26 | 4245.0021
Os189 | 161.6333 | 16.15 | 0.33333 | 39082758036.2706 | 5.3833 | 870.1259
| 161.6464 |  | 0.33333 | 39085913904.5668 | 5.3833 | 870.1962
| 161.6672 |  | 0.33333 | 39090958135.4238 | 5.3833 | 870.3085
Os188 | 161.6555 | 13.24 |  | 39088135977.6151 | 13.24 | 2140.3194
Os187 | 161.6554 | 1.96 | 0.5 | 39088107832.2921 | 0.98 | 158.4223
| 161.6591 |  | 0.5 | 39089006906.9733 | 0.98 | 158.426
| 161.6589 | 1.59 |  | 39088952172.8999 | 1.59 | 257.0377
Os186 | 161.6624 | 0.02 |  | 39089782601.9336 | 0.02 | 3.2332 |  | 161.6672
Os184 |  | 100 |  |  |  | 161.6517 | Took average over intensity | 161.6333 | 0.033913
3s2-3s3p 1P1 | Energy (in eV) | Abundance | Intensity over HF str | Enegy (MHz) | Relative intensity
Os192 | 602.447 | 40.78 |  | 145671036487.5174 | 40.78 | 24567.7887
Os190 | 602.4497 | 26.26 |  | 145671697383.9001 | 26.26 | 15820.33
Os189 | 602.4595 | 16.15 | 0.33333 | 145674060309.0728 | 5.3833 | 3243.2403
| 602.4532 |  | 0.33333 | 145672543166.5396 | 5.3833 | 3243.2066
| 602.4481 |  | 0.33333 | 145671292588.6326 | 5.3833 | 3243.1787
Os188 | 602.4527 | 13.24 |  | 145672413037.6517 | 13.24 | 7976.4737
Os187 | 602.456 | 1.96 | 0.5 | 145673211884.3575 | 0.98 | 590.4069
| 602.4549 |  | 0.5 | 145672934984.4913 | 0.98 | 590.4058
Os186 | 602.4563 | 1.59 |  | 145673290015.9879 | 1.59 | 957.9055
Os184 | 602.46 | 0.02 |  | 145674182294.4503 | 0.02 | 12.0492
602.4499
D1 transition energy
Area % | Energy centroid (eV) | λ (nm) | Diff (nm)
| 161.6517 | 7.6698
D2 transition energy
SA (nuclear sensitivity coefficient) | GRASP (cm-1/fm) |  | RMBPT (cm-1/fm)
D1 | -3278.1022 | No deformation
| -3306.0013 | deformation
D2 | -3530.9769 | No deformation
| -3560.9183 | deformation